# Software Design Document

## Project: Whole-Cell Biosensor Fingerprint Analysis and ML Prediction Pipeline

## 1. System Purpose

This software analyzes luminescence time-series data from whole-cell biosensor strains exposed to selected contaminants. It generates biological fingerprints, visualizations, statistical summaries, and machine-learning models for contaminant classification and concentration prediction.

### Target biological question

Can six luminescent bacterial biosensor strains — BL011, BL027, BL029, BL030, BL031, and BL032 — generate distinct, reproducible, and concentration-dependent response fingerprints for Diazinon, DEET, Propoxur, Metaldehyde, Boric Acid, and Trimethoprim?

# 2. Architecture

| Layer | Component | Purpose |
| --- | --- | --- |
| Data layer | CSV importer | Load raw plate-reader files |
| Validation layer | Schema checker | Confirm required columns and valid labels |
| Preprocessing layer | Cleaner/normalizer | Clean data, standardize names, remove Monensin, normalize to control |
| Feature layer | Feature extractor | Convert time-series into ML-ready features |
| Visualization layer | Plot generator | Time curves, heatmaps, PCA, dose-response plots |
| ML layer | Classification/regression models | Predict chemical identity and concentration |
| Validation layer | Model validator | Prevent leakage using experiment-level splits |
| Reporting layer | Report builder | Generate scientific report and critique |

# 3. Recommended Project Structure

biosensor_fingerprint_ml/

│

├── data/

│   ├── raw/

│   ├── processed/

│   └── metadata/

│

├── outputs/

│   ├── figures/

│   ├── models/

│   ├── reports/

│   └── tables/

│

├── scripts/

│   ├── 01_load_and_validate.py

│   ├── 02_clean_preprocess.py

│   ├── 03_feature_extraction.py

│   ├── 04_visualization.py

│   ├── 05_train_classifier.py

│   ├── 06_train_regressor.py

│   ├── 07_model_validation.py

│   ├── 08_generate_report.py

│   └── run_pipeline.py

│

├── src/

│   ├── config.py

│   ├── io_utils.py

│   ├── validation.py

│   ├── preprocessing.py

│   ├── features.py

│   ├── visualization.py

│   ├── models.py

│   ├── evaluation.py

│   └── reporting.py

│

├── tests/

│   ├── test_io.py

│   ├── test_validation.py

│   ├── test_preprocessing.py

│   ├── test_features.py

│   ├── test_models.py

│   └── test_pipeline.py

│

├── requirements.txt

├── environment.yml

├── README.md

└── SOFTWARE_DESIGN_DOCUMENT.md

# 4. Pipeline

| Step | Input | Process | Output |
| --- | --- | --- | --- |
| 1 | Raw CSV files | Load BL011, BL027, BL029, BL030, BL031, BL032 files | Combined raw dataframe |
| 2 | Raw dataframe | Validate schema and labels | Validation report |
| 3 | Validated data | Standardize chemical/strain/concentration names | Clean dataframe |
| 4 | Clean dataframe | Remove Monensin and non-target chemicals | Filtered dataset |
| 5 | Filtered dataset | Normalize to control | Normalized luminescence table |
| 6 | Normalized data | Extract AUC, max, min, slope, time-to-peak, final signal | Feature table |
| 7 | Feature table | Generate heatmaps, PCA, clustering | Figures |
| 8 | Feature table | Train classifier | Chemical identity model |
| 9 | Feature table | Train regressor | Concentration prediction model |
| 10 | Models + results | Validate with experiment-level split | Validation report |
| 11 | All outputs | Build report | Publishable analysis report |

# 5. Flowchart

START

↓

Upload raw CSV files

↓

Load all strain files

↓

Validate required columns

↓

Are required columns present?

├── No → Stop and generate error report

└── Yes

↓

Standardize labels

↓

Remove Monensin and non-target chemicals

↓

Check controls

↓

Are controls present?

├── No → Warn user; continue with unnormalized analysis only

└── Yes → Normalize treatment to matched control

↓

Extract kinetic features

↓

Generate exploratory figures

↓

Train classification model

↓

Train concentration prediction model

↓

Validate using experiment-level holdout

↓

Generate report, figures, tables, saved models

↓

END

# 6. State Machine

| State | Description | Transition |
| --- | --- | --- |
| WAITING_FOR_FILES | No input data loaded | User uploads CSV files |
| FILES_LOADED | Files detected and read | Run schema validation |
| VALIDATION_FAILED | Missing columns or invalid format | Generate error report |
| VALIDATED | Dataset passes required checks | Begin preprocessing |
| PREPROCESSED | Data cleaned and filtered | Extract features |
| FEATURES_READY | ML-ready feature table created | Run visualization and modeling |
| VISUALIZED | Figures generated | Continue to ML |
| MODEL_TRAINED | Classifier/regressor trained | Validate model |
| VALIDATION_COMPLETE | Performance evaluated | Generate report |
| REPORT_COMPLETE | Final outputs saved | End |

# 7. Use Cases and Edge Cases

| Use case | Expected behavior |
| --- | --- |
| User uploads all six strain CSV files | Combine files and add strain labels |
| User uploads one strain file | Analyze single-strain response; warn that multi-strain fingerprinting is incomplete |
| User includes Monensin | Automatically exclude Monensin |
| User includes extra chemicals | Keep only Diazinon, DEET, Propoxur, Metaldehyde, Boric Acid, Trimethoprim |
| Missing control wells | Warn and skip control-normalized features |
| Missing time points | Interpolate only if gaps are small; otherwise flag |
| Unequal experiment numbers across strains | Use available data but report imbalance |
| Non-numeric luminescence values | Coerce to numeric; invalid values become missing |
| Negative luminescence after blank correction | Set to NaN or retain with warning depending on config |
| Concentration labels written differently | Standardize to numeric μg/mL |

# 8. Sub-Model Definitions

## 8.1 Classification Model

| Item | Specification |
| --- | --- |
| Task | Predict chemical identity |
| Input | Feature table |
| Label | Chemical name |
| Recommended model | Random Forest classifier |
| Secondary models | SVM, kNN, XGBoost |
| Validation | Leave-one-experiment-out cross-validation |
| Metrics | Accuracy, macro-F1, confusion matrix, precision, recall |

## 8.2 Regression Model

| Item | Specification |
| --- | --- |
| Task | Predict concentration |
| Input | Feature table |
| Label | Numeric concentration |
| Recommended model | Random Forest regressor |
| Secondary models | SVR, XGBoost regressor |
| Validation | Experiment-level holdout |
| Metrics | R², RMSE, MAE |

## 8.3 Feature Extraction Model

| Feature | Biological meaning |
| --- | --- |
| AUC | Total luminescence response |
| Max signal | Peak biological activity |
| Min signal | Strongest inhibition |
| Time-to-peak | Response timing |
| Initial slope | Early response rate |
| Decay slope | Signal loss rate |
| Final signal | Recovery or persistent damage |
| Fold change | Treatment effect relative to control |
| Log₂ fold change | Symmetric normalized response |
| Percent inhibition | Toxicity severity |

# 9. Inputs, Outputs, APIs, Restrictions, and Limitations

## Inputs

| Input | Format |
| --- | --- |
| Raw luminescence data | .csv |
| Strain names | BL011, BL027, BL029, BL030, BL031, BL032 |
| Chemicals | Diazinon, DEET, Propoxur, Metaldehyde, Boric Acid, Trimethoprim |
| Concentrations | 500, 50, 5, 0.5, 0.05 μg/mL |
| Replicates | 4 |
| Experiments | Multiple independent experimental runs |
| Time | Measurement time in minutes |

## Outputs

| Output | Location |
| --- | --- |
| Clean dataset | data/processed/clean_data.csv |
| Feature table | outputs/tables/features.csv |
| Heatmaps | outputs/figures/heatmaps/ |
| PCA plots | outputs/figures/pca/ |
| Time-course curves | outputs/figures/time_curves/ |
| Classification model | outputs/models/classifier.pkl |
| Regression model | outputs/models/regressor.pkl |
| Validation report | outputs/reports/model_validation_report.md |
| Scientific report | outputs/reports/scientific_performance_report.md |

## Restrictions

| Restriction | Reason |
| --- | --- |
| Do not randomly split wells | Causes data leakage |
| Do not treat technical replicates as biological experiments | Inflates model performance |
| Do not train on Monensin | User excluded it |
| Do not use deep learning initially | Dataset too small for reliable neural-network training |
| Do not claim unknown-sample detection without external validation | Classification is limited to trained chemicals |

## Limitations

The system can classify only the chemicals included in training. It cannot reliably identify novel unknown contaminants unless an out-of-distribution detection module is added.

# 10. Known Error Cases and Recovery Logic

| Error case | Detection | Recovery |
| --- | --- | --- |
| Missing CSV file | File not found | Report missing strain and continue with available files |
| Missing required columns | Schema validation fails | Stop and print required columns |
| Inconsistent chemical spelling | Chemical not recognized | Apply synonym dictionary |
| Missing controls | No control label found | Skip fold-change normalization and warn |
| Duplicate rows | Same strain/chemical/concentration/time/replicate repeated | Average duplicates or keep first based on config |
| Missing time points | Time gaps detected | Interpolate small gaps; flag large gaps |
| Non-numeric concentration | Parsing fails | Convert known strings to numeric; otherwise exclude |
| Small class size | Fewer than minimum samples per class | Exclude class from ML or warn |
| Model overfitting | Train score much higher than test score | Use simpler model and experiment-level validation |
| Failed plot generation | Missing feature or empty subset | Skip plot and write warning |

# 11. Required Libraries and Installation Packages

## requirements.txt

pandas

numpy

scipy

scikit-learn

matplotlib

seaborn

openpyxl

joblib

pyyaml

pytest

statsmodels

xgboost

Optional:

shap

umap-learn

tslearn

## Installation

python -m venv .venv

.venv\Scripts\activate

pip install -r requirements.txt

For Mac/Linux:

python3 -m venv .venv

source .venv/bin/activate

pip install -r requirements.txt

# 12. Environment Configuration

Create config.yaml:

project:

name: biosensor_fingerprint_ml

data:

raw_dir: data/raw

processed_dir: data/processed

output_dir: outputs

target_strains:

- BL011

- BL027

- BL029

- BL030

- BL031

- BL032

target_chemicals:

- Diazinon

- DEET

- Propoxur

- Metaldehyde

- Boric Acid

- Trimethoprim

excluded_chemicals:

- Monensin

concentrations:

- 500

- 50

- 5

- 0.5

- 0.05

normalization:

method: log2_treatment_over_control

pseudocount: 1

validation:

split_method: leave_one_experiment_out

random_seed: 42

models:

classifier: random_forest

regressor: random_forest

figures:

dpi: 300

format: png

# 13. Testing Kit

## 13.1 Unit Tests

| Module | Test |
| --- | --- |
| io_utils.py | Can load valid CSV |
| io_utils.py | Handles missing file gracefully |
| validation.py | Detects missing required columns |
| validation.py | Detects invalid chemical labels |
| preprocessing.py | Removes Monensin correctly |
| preprocessing.py | Standardizes BL027ab to BL027 |
| features.py | Correctly calculates AUC |
| features.py | Correctly calculates max, min, time-to-peak |
| models.py | Trains classifier without error |
| models.py | Trains regressor without error |
| evaluation.py | Produces confusion matrix |
| evaluation.py | Produces R², RMSE, MAE |

## 13.2 Integration Tests

| Connected modules | Test |
| --- | --- |
| Loader + validator | Raw files produce validation report |
| Preprocessor + feature extractor | Clean data produce feature table |
| Feature extractor + visualizer | Feature table produces heatmap and PCA |
| Feature extractor + classifier | Feature table trains chemical classifier |
| Feature extractor + regressor | Feature table trains concentration model |
| Model + evaluator | Model produces validation metrics |

## 13.3 End-to-End Tests

| Test | Expected result |
| --- | --- |
| Run full pipeline on sample dataset | All outputs generated |
| Run full pipeline with missing chemical | Warning generated, pipeline continues |
| Run full pipeline with missing controls | Normalization warning generated |
| Run full pipeline with one missing strain | Partial analysis completed |
| Run full pipeline twice | Same results with fixed random seed |

# 14. ML and Scientific Validation Plan

## 14.1 Scientific Validation

| Validation target | Method |
| --- | --- |
| Fingerprint reproducibility | Compare experiments using correlation and clustering |
| Concentration dependence | Dose-response plots and regression |
| Strain contribution | Feature importance and strain-wise ablation |
| Chemical separability | PCA, clustering, PERMANOVA if appropriate |
| Biological interpretation | Compare severity, persistence, recovery, and escalation indices |

## 14.2 ML Validation

| Requirement | Method |
| --- | --- |
| Prevent leakage | Split by experiment, not by well |
| Classification validation | Leave-one-experiment-out cross-validation |
| Regression validation | Hold out entire experiment |
| Model robustness | Repeat validation across experiments |
| Overfitting check | Compare train vs test performance |
| Feature importance stability | Compare importance rankings across folds |

## 14.3 Minimum Performance Thresholds

| Output | Minimum useful threshold |
| --- | --- |
| Chemical classification | ≥80% accuracy, macro-F1 ≥0.75 |
| Strong chemical classification | ≥90% accuracy, macro-F1 ≥0.85 |
| Concentration regression | R² ≥0.75 |
| Strong concentration regression | R² ≥0.85 |
| Scientific interpretation | Reproducible clustering across independent experiments |

# 15. Recommended First Implementation Order

| Priority | Script | Purpose |
| --- | --- | --- |
| 1 | 01_load_and_validate.py | Confirm files can be read |
| 2 | 02_clean_preprocess.py | Clean and standardize dataset |
| 3 | 03_feature_extraction.py | Create ML-ready table |
| 4 | 04_visualization.py | Generate heatmaps and PCA |
| 5 | 05_train_classifier.py | Predict chemical identity |
| 6 | 06_train_regressor.py | Predict concentration |
| 7 | 07_model_validation.py | Validate models correctly |
| 8 | 08_generate_report.py | Produce final report |

# 16. Acceptance Criteria

The software is complete when:

- All six strain files can be loaded.

- Monensin is excluded automatically.

- Only target chemicals are retained.

- Feature table is generated.

- Heatmaps and PCA plots are produced.

- Chemical classifier is trained and validated.

- Concentration regressor is trained and validated.

- Validation uses experiment-level splitting.

- Report includes figures, metrics, limitations, and biological interpretation.

- Tests pass successfully.

# 17. Final Implementation Constraint

The software must prioritize scientific validity over high ML accuracy. A lower but honestly validated model is preferable to a high-accuracy model caused by leakage, technical replicate inflation, or uncontrolled batch effects.